Annex No. 2

To the procurement “Purchase of AF microscope for the implementation

of project No. 1.1.1.3/1/24/A/134”

Procurement ID No. AITOMIC-CFLA-2025-1

Translation of the Regulations and Annex No. 1

PROCUREMENT

“PURCHASE OF MICROSCOPE FOR THE IMPLEMENTATION OF PROJECT NO. 1.1.1.3/1/24/A/134”

(ID No. AITOMIC-CFLA-2025-1)

REGULATIONS

Date visible in timestamp

| The procurement is being carried out within the framework of Project No. 1.1.1.3/1/24/A/134 “Development of new artificial intelligence based solution, integrating clinical, histopathological and atomic force microscopy, for the prediction of the success of long-term efficiency from lung cancer immunotherapy”, in cooperation with the Central Finance and Contracts Agency. |  |
| --- | --- |

- General information about the customer:

|  | Support applicant | AITOMIC SIA |
| --- | --- | --- |
|  | Registration No. | 40203355222 |
|  | Registered address of the customer | Ierocu street 10 - 34/35, Riga, LV-1013 |
|  | Actual address of the customer | Ieriku street 5, Riga, LV-1084 |
|  | Contact person | Andis Liepiņš, +371 26152330, andis.liepins@applyit.lv |

- General information about the procurement

|  | Subject of the procurement | The subject of the procurement is the purchase of an atomic force microscope for the needs of SIA AITOMIC within the framework of project No. 1.1.1.3/1/24/A/134. The offer must be submitted for the entire procurement subject in full. |
| --- | --- | --- |
|  | Procurement execution deadline | No later than 10 weeks from the conclusion of the contract. The expected moment of conclusion of the contract – no later than 4 weeks after the end of the deadline for submission of offers. |
|  | Place of the procurement | Ierocu street 10 - 34/35, Riga, LV-1013 |
|  | Deadline for submission of offers | The offer must be submitted by August 15, 2025 at 22:00 (EEST/UTC 3+). Offers submitted after this deadline will not be evaluated in the subsequent procurement procedure. |
|  | Place of submission of offers | In person at Ieriku 5, every working day from 10:00 to 16:00 (informing in advance about your arrival) or electronically, by sending an offer by e-mail to andis.liepins@applyit.lv. |
|  | Validity period of the offer | 31.10.2025. |

- Criteria for selecting potential suppliers:

An Tenderer may be a natural or legal person, an association of such persons in any combination thereof, which offers to supply goods or provide services on the market, and which meets the following requirements:

  - The Tenderer is not registered in a country referred to in the Cabinet of Ministers of the Republic of Latvia Regulation No. 333 of 27 June 2023 "List of low-tax or tax-free countries and territories";

  - The Tenderer has not been declared insolvent, is not in the process of liquidation, its economic activity has not been burdened or suspended, and no violations of the Tenderer's professional activities have been detected in the last 3 (three) years;

  - The Tenderer is not related to the Client within the meaning of the Law "On Taxes and Duties" and is not in a conflict of interest in accordance with the Cabinet of Ministers Regulation No. 104 of 28 February 2017 "Regulations on the procurement procedure and the procedure for its application to projects financed by the Client";

  - The Tenderer has not been subject to any national or international sanctions or sanctions imposed by a member state of the EU or the North Atlantic Treaty Organization affecting the interests of the financial and capital market (in accordance with the conditions specified in the Law on International and National Sanctions of the Republic of Latvia);

  - The Tenderer has at least 3 (three) years of experience in the production and user training of solutions specified in the procurement regulations or equivalent in the subject of the procurement and technical specifications. Documentation of experience may be requested at the time of evaluation of the offers if the Customer has doubts about compliance with the requirement;

  - The Tenderer's average turnover in the service provision sector for the last 3 years exceeds the total amount of the offer.

- Requirements for preparing offers

  - The Tenderer may submit a proposal electronically or in person or in paper form:

    - When submitting a proposal electronically, the Tenderer must prepare and submit the Proposal in 1 (one) copy, consisting of an electronically signed or signed and scanned technical specification / proposal form (Annex 1);

    - When submitting a proposal in person, the Tenderer must prepare and submit the Proposal in 2 (two) copies (two originals), consisting of a signed technical specification / proposal form (Annex 1).

  - When submitting a proposal, the Tenderer confirms that it meets the requirements set out in the Regulations.

  - The Tenderer must prepare the documents referred to in 4.1.1. or 4.1.2. in accordance with the requirements set out below:

    - In accordance with the Technical Specification / Offer Form (Annex No. 1);

    - In computer-written form in Latvian or English. If the offer is submitted in another foreign language (other than English), a translation into Latvian certified by the Tenderer’s authorized signatory must be attached to the prepared offer documents;

    - The documents included in the offer must be clearly legible, without corrections;

    - For the entire procurement subject in full;

    - The price must include the costs of acquisition, delivery, training and warranty service in accordance with the requirements of the Technical Specification;

    - The offer must indicate the date of its preparation, the position of the tenderer, his signature and a transcript of the signature;

    - The price must be stated in EUR (excluding VAT);

    - The tenderer shall submit the offer in one of three ways:

      - The tenderer, when submitting the offer electronically, shall submit the electronically signed offer form (Annex 1) by sending an e-mail, indicating in the subject of the e-mail the procurement mark by which the offer can be identified, for example, “Offer - AF microscope, ID No. AITOMIC-CFLA-2025-1”.

      - The tenderer, when submitting the offer in person, shall submit the signed offer form (Annex 1) in a sealed envelope, on which shall be indicated: (1) The name and registration number of the Client; (2) The name and registration number of the tenderer; (3) The procurement mark by which the offer can be identified, for example, “Offer - AF microscope, ID No. AITOMIC-CFLA-2025-1”;

      - The tenderer, when submitting the offer by post or courier service, shall submit the signed offer form (Annex 1) in a sealed envelope, on which, without information about the recipient of the shipment, shall be indicated: (1) The name and registration number of the Client; (2) The name and registration number of the tenderer; (3) The procurement mark by which the offer can be identified, for example, “Offer - AF microscope, ID No. AITOMIC-CFLA-2025-1”. If it is chosen to submit the offer by post or by courier service, the tenderer must ensure that the offer reaches the customer at the time and place specified in paragraphs 2.4 and 2.5.

  - Offers that are not prepared, presented and submitted in accordance with the requirements of these technical specifications, or that do not include all required documents or certificates, will be rejected and the tenderers will be excluded from further participation in the procurement procedure.

- Evaluation of offers:

  - The criterion for evaluating offers is the most economically advantageous (lowest price) offer from all valid offers submitted and prepared in accordance with the requirements specified in these Regulations and the annexes.

- Other information:

  - Questions should be addressed to the responsible person (Section 1 of the Regulations) by sending a notification by electronic mail;

  - The submitted tenderer's offer for this tender confirms that the tenderer has familiarized himself with the content of the procurement regulations and the annexes attached thereto and has fully agreed to them and confirmed compliance with the requirements;

  - All submitted offers are stored in sealed packages until the start of the offer opening meeting. Electronically submitted offers are not opened before the specified deadline. Premature opening of envelopes and e-mail attachments is not permitted.

- Annexes to the Regulations:

Annex No. 1 – Procurement Technical Specification / Offer Form on 4 (four) pages;

Annex No. 2 – Translation of the Regulations and Annex No. 1 into English on 9 (nine) pages.

Aitomic SIA

Member of the board                                                                                Valts Jakubovičs

THE DOCUMENT IS SIGNED WITH A SECURE ELECTRONIC SIGNATURE AND CONTAINS A TIME STAMP

Annex No. 1

To the procurement “Purchase of AF microscope for the implementation

of project No. 1.1.1.3/1/24/A/134”

Procurement ID No. AITOMIC-CFLA-2025-1

TECHNICAL SPECIFICATION / OFFER FORM

Date visible in timestamp

| Project No. 1.1.1.3/1/24/A/134 “Development of new artificial intelligence based solution, integrating clinical, histopathological and atomic force microscopy, for the prediction of the success of long-term efficiency from lung cancer immunotherapy”, implemented by SIA Aitomic within the framework of the specific support objective 1.1.1. “Strengthening research and innovation capacity and introducing advanced technologies into the common R&D system” of the European Union Cohesion Policy Programme 2021–2027, measure 1.1.1.3. “Practical-oriented research” and administered by the Central Finance and Contracting Agency. |  |
| --- | --- |

- General information about the customer:

|  | Support applicant | AITOMIC SIA |
| --- | --- | --- |
|  | Registration No. | 40203355222 |
|  | Registered address of the customer | Ierocu street 10 - 34/35, Riga, LV-1013 |
|  | Actual address of the customer | Ieriku street 5, Riga, LV-1084 |
| 1.5 | Contact person | Andis Liepiņš, +371 26152330, andis.liepins@applyit.lv |

- General terms:

  - The Tenderer has to prepare his proposal and submit it filled in the Offer form in accordance with the technical specification of the relevant Part of the Procurement for the subject of the Procurement in full;

  - Condition of the equipment: all equipment, systems, objects, components, etc. must be new, not used before;

  - The Tenderer’s proposal must include everything necessary for the operation of the offered product;

  - The goods offered are allowed to be distributed in the Republic of Latvia and in the European Union;

  - The goods offered, where it is required, have all the necessary certificates, etc. documents;

  - The Tenderer must guarantee that, at the time of delivery of the Product, the customer will be provided with documentation containing the Product's characteristics, properties, usage and storage rules and application;

  - If the technical specification indicates specific goods, manufacturer or standard name or any other indication of the specific origin of the Product, special process, brand or type, the Tenderer may offer equivalent products or conformance with equivalent standards that meet the requirements of the technical specification and the parameters provided in the technical specification claim. The proposal shall indicate the exact name and technical description of the parameter, standard or item offered respectively;

  - The Tenderer must accurately indicate the information about the Product offered and its technical description in its technical proposal. The Tenderer’s proposal must not contain several variants of technical offers;

  - According to the needs of the Customer, the order can be made in parts or all at the same time;

  - Delivery and unloading of product are provided by the Supplier at the Customer's premises in the presence of the responsible person of the Customer;

  - The packaging of the goods should be such as to minimize the possibility of damaging the Product during transportation.

- Submission of an offer:

  - The Tenderer prepares the technical proposal by filling in the "Tenderer's Technical Proposal" field of the offer form, which specifies the following information:

    - The name of the Product, the manufacturer (if any - the model name and number of the Product);

    - Technical information for each item offered, confirming the fulfilment of each claim (parameter). A field filled in by the tenderer, in which will only be written "compliant", will be considered as insufficient information;

    - A document issued by the manufacturer, attached to the offer, p. and a position or a link (link) to the manufacturer's website, which can be used to judge the compliance of the proposed item with the requirements. If this information does not exist, please indicate the reason. In the case where the tenderer himself is a producer of goods, he shall indicate it on the offer;

    - In parts of the procurement, where the guarantee is required, it must be specified by the Tenderer at least as specified in the Technical Specifications;

    - Price in EUR (excluding VAT).

- Technical specification / Offer

The subject of the procurement is the purchase of an atomic force microscope (AF microscope) for the needs of SIA AITOMIC within the framework of project No. 1.1.1.3/1/24/A/134, which meets the following needs of the Customer:

| No. | Item to be purchased / Minimum technical and functional requirements |  | Technical offer of the Tenderer |
| --- | --- | --- | --- |
| 1) | Item to be purchased |  |  |
|  | Atomic Force Microscope (1 piece) Equipment list: Atomic Force Microscope - 1 piece. |  |  |
|  | Minimal technical and functional requirements |  | - |
|  | General requirements for physical properties Atomic Force Microscope (AMF) |  | - |
|  | General requirements | All measurements can be performed both in air and a liquid cell |  |
|  | Power supply | 220 V, 50 Hz |  |
|  | Imaging modes: |  | - |
|  | Contact mode | Included |  |
|  | Tapping mode | Included |  |
|  | Phase imaging | Included |  |
|  | Lateral force mode | Included |  |
|  | Force spectroscopy | Included |  |
|  | Scan range | XY: ≥ 50 µm x 50 µm Z: ≥15 µm |  |
|  | Scan resolution | Lateral XY: < 3 nm noise Vertical Z: < 0.2 nm noise |  |
|  | AFM image pixels (data points) | ≥1024 x 1024 |  |
|  | Force spectroscopy modes: |  | - |
|  | Individual force-distance curves | Included |  |
|  | Surface area force spectroscopy with a number of curves | up to ≥ 256 x 256 |  |
|  | An integrated top view video microscope | Integrated |  |
|  | Illumination source | Included |  |
|  | Mechanical zoom range | from 1 to ≥7 |  |
|  | Sample holder | Ensures the use of standard glass slides |  |
|  | Liquid cell with temperature control | Included |  |
|  | - temperature range | from ≤ room temperature to ≥50 °C |  |
|  | - accuracy of temperature maintenance | ≤ 0.1 °C |  |
|  | Software: |  | - |
|  | AFM control and image acquisition software | Included |  |
|  | Image processing and analysis software | Included |  |
|  | Force-distance measuring software and associated analysis package | Included |  |
|  | Complete documentation package including software source code, schematics, and mechanical drawings | Included |  |
|  | Requirements inverted light microscope |  | - |
|  | Adapter plate to accommodate the AFM | Included |  |
|  | Objectives: |  | - |
|  | 10X | Included |  |
|  | 20X | Included |  |
|  | 40X | Included |  |
|  | A fluorescence attachment | Included |  |
|  | Requirements for additional equipment |  | - |
|  | General requirements | Suitable for AFM and inverted light microscope |  |
|  | Active or passive vibration isolation table | Included |  |
|  | Acoustic vibration isolation enclosure | Included |  |
|  | Power supply | 220 V, 50 Hz |  |
|  | Other requirements |  | - |
| 2) | Warranty | At least 24 months after the goods are put into service |  |
| 3) | Training of Contracting authority’s personnel | Must provide training for at least one employee of the Contracting authority at suppliers facility |  |
| 4) | Delivery site | Ieriku street 5, Riga, LV-1084, Latvia |  |
|  |  |  | Price offer of the Tenderer |
| 5) |  | EUR exc. VAT |  |

| - Submission of the offer and the tenderer's compliance with the requirements | Tenderer’s confirmation(do confirm/ do not confirm |
| --- | --- |
| - The Tenderer confirms that the submitted offer has been independently developed;; - The Offer has been signed by the Tenderer’s authorized signatory or authorized person (a copy of the power of attorney has been submitted, if applicable); - The Offer has been submitted in accordance with clause 4.3.8 of the Regulations; - The deadline for submitting the offer has been met – August 15, 2025 at 22:00 (EEST/UTC 3+); - The validity period of the offer – October 31, 2025; - Delivery time of the goods and training – no later than 10 weeks from the conclusion of the contract; - Delivery costs are included in the purchase price of the AF microscope; - Additional costs, such as license costs required for the operation of the AF microscope, if applicable, etc. costs not mentioned in this document but necessary for the use of the AF microscope are included in the purchase price of the AF microscope; - The Tenderer meets the requirements of paragraphs 3.1.-3.6. of the Regulations: - The Tenderer is not registered in a country referred to in the Cabinet of Ministers of the Republic of Latvia Regulation No. 333 of 27 June 2023 "List of low-tax or tax-free countries and territories" ; - The Tenderer has not been declared insolvent, is not in the process of liquidation, its economic activity has not been burdened or suspended, and no violations of the Tenderer's professional activities have been detected in the last 3 (three) years; - The Tenderer is not related to the Client within the meaning of the Law "On Taxes and Duties" and is not in a conflict of interest in accordance with the Cabinet of Ministers Regulation No. 104 of 28 February 2017 "Regulations on the procurement procedure and the procedure for its application to projects financed by the Client" ; - The Tenderer has not been subject to any national or international sanctions or sanctions imposed by a member state of the EU or the North Atlantic Treaty Organization affecting the interests of the financial and capital market (in accordance with the conditions specified in the Law on International and National Sanctions of the Republic of Latvia); - The Tenderer has at least 3 (three) years of experience in the production and user training of solutions specified in the procurement regulations or equivalent in the subject of the procurement and technical specifications. Documentation of experience may be requested at the time of evaluation of the offers if the Customer has doubts about compliance with the requirement; - The Tenderer's average turnover in the service provision sector for the last 3 years exceeds the total amount of the offer; - The Tenderer is not in a conflict of interest with the Client. | Do confirm |

Tenderer’s representative

| Name, Surname |  |
| --- | --- |
| Position* |  |
| Date |  |
| Signature |  |

* If the offer is signed by an authorized person, not by the authorized person, then this fact must be indicated and a copy of the power of attorney must be submitted in addition.

Aitomic SIA

Member of the board  			                                                                                Valts Jakubovičs

THE DOCUMENT IS SIGNED WITH A SECURE ELECTRONIC SIGNATURE AND CONTAINS A TIME STAMP

https://likumi.lv/ta/id/343175-zemu-nodoklu-vai-beznodoklu-valstu-un-teritoriju-saraksts

https://likumi.lv/ta/id/33946-par-nodokliem-un-nodevam

https://likumi.lv/ta/id/289082-noteikumi-par-iepirkuma-proceduru-un-tas-piemerosanas-kartibu-pasutitaja-finansetiem-projektiem