Annex No. 2

TECHNICAL SPECIFICATION

PURCHASE OF STAINLESS STEEL STORAGE SHELF (4 LEVELS)

place, date

The following table:

| Parameter | Requirement |
| --- | --- |
| THE PARTICIPANT shall provide information or proof against each requirement. |  |
| Quantity | 10 pcs. – Modular, vertical storage shelf with 4 adjustable levels. |
| Brand, model offered | Brand name (for identification purposes) and model name (for identification purposes). |
| Purpose | Hygienic storage of dry goods, non-perishable supplies, or equipment in commercial and industrial settings (e.g., dry stores, utility rooms). |
| Construction & Material | • Material: High-quality Stainless Steel AISI 304 (18/10 or equivalent) for posts, frames, and shelves, ensuring maximum hygiene and corrosion resistance. • Design: Post/Upright frame construction, designed for flat-pack delivery (Knock-Down) and on-site assembly. |
| Shelving Configuration | • Levels: 4 adjustable shelf levels (tiers). • Type: Shelves must be solid or perforated stainless steel (or high-quality aluminum with polymer inserts) for ventilation and hygiene. • Adjustability: Shelves must be height-adjustable along the length of the upright posts. |
| Load Capacity | • Per Shelf Load: Minimum 120 kg – 150 kg evenly distributed. • Total Unit Load: Minimum 500 kg total static load. |
| Dimensions | • Width (W): 1180 mm – 1220 mm • Depth (D): 380 mm – 420 mm • Height (H): 1650 mm – 1850 mm (Standard height for 4 industrial levels). |
| Features | • Feet: Adjustable leveling feet (non-marking) to ensure stability on uneven floors. |
| Complete Functional Set (Mandatory) | The supplier is responsible for providing a fully functional unit ready for assembly and use. The set must include: • Upright Posts/Frames (Stainless Steel) • 4 x Shelf Levels (Stainless Steel or equivalent) • All necessary clips, fasteners, and leveling feet. • All components for 10 complete units. |
| Documentation | To be supplied in Latvian or English: assembly instructions, maintenance guide, Declaration of conformity (materials). |
| Compliance | Equipment must comply with EU Regulation EC 1935/2004 (materials in contact with food) and general safety standards. |
| Guarantee | Minimum 24 months full manufacturer or supplier warranty. |

Name, surname, position

signature